CLRC Instrumentation Department

Problem Report


Problem Report 



 Report Number :- 12

Project Name:-CMS-FED Front end

Item:-




PC 3025M Mk1

Problem:

It is noted that the power and ground tracks for the opto device are small. 

This MAY result in problems in using the opto device. Measurements will be required once the opto device has been fitted. 



Originator (sign, date)

Project Manager(sign, date)

Remedial Action:

Better checks should be made at the layout stage

Project Manager (sign, date)



Last modified 24/06/03 10:28

page 1 of 1

