CLRC Instrumentation Department

Problem Report


Problem Report 



 Report Number :- 21

Project Name:-CMS-FED All

Item:-




PC 3025M Mk1

Problem:

It is noted that the supply rails on the board contain a lot of electrical noise. This will be quantified once all the logic is in operation on the card.



Originator (sign, date)

Project Manager(sign, date)

Remedial Action:



Project Manager (sign, date)



Last modified 24/06/03 10:41

page 1 of 1

