CLRC Instrumentation Department

Problem Report


Problem Report 



 Report Number :- 33

Project Name:-CMS-FED back end

Item:-




PC 3025M Mk1

Problem:

Mat Noy reports CH5 in each module is noisy

Suspect a problem with the decoupling cap associated with CH5



Originator (sign, date)

Project Manager(sign, date)

Remedial Action:

Revise schmatics

Project Manager (sign, date)



Last modified 24/06/03 15:16

page 1 of 1

