CMS Silicon Tracker Front End Driver Optical Test Bench

Operating Instructions

M. Noy
S. Taghavirad

18-03-2003

1. The operation of the Optical Test Card and optical system is restricted to authorised personnel only. The authorised operator shall be Mr M Noy.

2. The power to the crate, and hence the laser driver can be switched off at any time during operation by either the crate power supply switch, or the mains switch on the bench power rail. All users should be familiar with the location of both of these switches. 

3. In the event of any incident that may inhibit the normal operation or function of those in charge of operating the crate, or may be deemed as an emergency, the power to the crate should be switched off at either or both of the above points. 

4. The opto-hybrid laser bias settings should be set to zero before any section of the fibre is disconnected. Any unpopulated fibres should either be connected to the fibre fan-in or have the correct MU connector cap placed on them. It should also be ensured that the laser bias setting for that channel is set to zero. 

5. The operation of this equipment should not interfere with any of the normal laboratory safety procedures that are currently employed by those working in the laboratory whether, connected with the optical testing set up or not. 

1

